# Preventive maintenance checklist

Fill in the blanks, then change it for your properties.

Copy this list for each property and delete what doesn’t apply. Give every task a month and a person, and record each visit on the property so the next person can see what was done.

# Every month

•	Check HVAC filters, and change any that look dirty

•	Ask tenants to test smoke and CO alarms, and to report any that chirp

•	Walk common areas for leaks, lighting and trip hazards

# Every three months

•	Change HVAC filters at least every three months

•	Look under sinks and around water heaters and toilets for slow leaks

•	Check exterior lighting and door closers in common areas

# Spring

•	Cooling system check-up before the hot months

•	Clean gutters and downspouts, and check they drain away from the building

•	Inspect the roof and flashing after winter

•	Check irrigation and outdoor faucets for leaks

# Fall

•	Heating system check-up before the cold months

•	Clean gutters again after leaves drop

•	Disconnect hoses, shut off and drain outdoor faucets, and insulate exposed pipes

•	Check weatherstripping on doors and windows

# Once a year

•	Replace batteries in alarms that use them

•	Replace smoke alarms that are 10 years past their manufacture date

•	Flush the water heater, or follow the manufacturer’s schedule

•	Clean dryer vents and check the duct is not crushed or blocked

•	Service fire extinguishers where you provide them

From now ours, https://nowours.com/templates/preventive-maintenance-checklist